## 1.Procedure (OD)
Glycogen Assay Colorimetric Kit MAK604
Instructions for Analyzing Test Results for Two Samples |  | For your convenience, use the following table to calculate the volume of reagents you will need to prepare Reaction Mix for your experiment.
Below are steps to help analyze the results of the test conducted for two samples.
For a colorimetric experiment, refer to tabs 1 and 2;
For a fluorescent experiment, refer to tab 3 and 4.
Insert number of Standard wells
1. Input Readings: |  | Insert number of Samples wells (Background, Sample, Spike)
Start by entering the readings obtained from your test into Table 1.
Table 2 displays the results after subtracting the Blank. |  | Number of wells | 0
|  | Required volume of Development buffer (µl)- MAK604B | 0
2. Proceed Based on Experiment Requirements: |  | Required volume of Development Enzyme Mix (µl) - MAK604E | 0
If your experiment required a spike, proceed to step 6, Tables 6 to 9. |  | Probe (µl) - MAK604C | 0
If no spike was required, continue to the next step.
3. Enter Sample Background Readings:
Enter your Sample Background readings in Table 3.
Additionally, enter your Sample Background readings in Table 4.
4. Obtain Corrected Sample Readings:
Table 5 provides the corrected Sample readings after subtracting both the Blank and Sample Background.
5. Calculate Glycogen Concentration:
In the glycogen concentration calculation, enter the dilution factor (DF) used for the sample and the sample volume (µL) in the yellow cells.
In the green cells, you will find the ATP concentration of your sample (µg/µL).
6. For Spiked Samples:
If you did spike samples, enter the Sample Background readings in Table 6.
Enter the Sample readings in Table 7 and again in Table 8.
In Table 9, you will obtain the corrected readings after subtracting the Blank reading and the Sample Background reading.
7. Sample Spike - Glycogen Concentration Calculation:
In the yellow cells, enter the volume (µL) of glycogen (0.2mg/ml) that you added to the Spike sample.
Enter the dilution factor used for the sample and the sample volume.
In the green cells, you will get the amount of glycogen in the well (µg) and the glycogen concentration in the sample (µg/µL).

## 2.Calculator (OD)
Glycogen Assay Colorimetric Kit MAK604
For your convenience, a calculation sheet is available below. Only the yellow cells need to be filled by you. Green cells indicate the final results of glycogen concentration
Copy the raw data obtained from the plate reader to the tables below :
Select Orientation → Portrait and Scaling → Fit All Columnson One Page for a printer friendly document.
Standard Curve Calculator:
Enter the standard readings in the yellow cells in Tabel 1.
Table 1: |  |  |  |  | Table 2:
| Reading OD (570) nm |  |  |  |  | Reading OD (570) nm
µg of glycogen per well | Duplicate 1 | Duplicate 2 |  |  | µg of glycogen per well | Average | Blank Assay Sub.
0 |  |  |  |  | 0 | #DIV/0! | #DIV/0!
0.4 |  |  |  |  | 0.4 | #DIV/0! | #DIV/0!
0.8 |  |  |  |  | 0.8 | #DIV/0! | #DIV/0!
1.2 |  |  |  |  | 1.2 | #DIV/0! | #DIV/0!
1.6 |  |  |  |  | 1.6 | #DIV/0! | #DIV/0!
2 |  |  |  |  | 2 | #DIV/0! | #DIV/0!
Calculator for systems that do not require a spike |  |  |  |  | Calculator for systems requiring spike
Sample Calculator: |  |  |  |  | Sample Spike Calculator:
Enter the Sample Background readings in the yellow cells in Tabel 3. |  |  |  |  | Enter the Sample Background readings in the yellow cells in Tabel 3.
Table 3: |  |  |  |  | Table 6:
| Reading OD (570) nm |  |  |  |  | Reading OD (570) nm
| Duplicate 1 | Duplicate 2 | Average |  |  | Duplicate 1 | Duplicate 2 | Average
Sample Background 1 |  |  | #DIV/0! |  | Sample Background 1 |  |  | #DIV/0!
Sample Background 2 |  |  | #DIV/0! |  | Sample Background 2 |  |  | #DIV/0!
Enter the Sample readings in the yellow cells in Tabel 4. |  |  |  |  | Enter the Sample readings in the yellow cells in Tabel 4.
Table 4: |  |  |  |  | Table 7:
| Reading OD (570) nm |  |  |  |  | Reading OD (570) nm
| Duplicate 1 | Duplicate 2 | Average |  |  | Duplicate 1 | Duplicate 2 | Average
Sample 1 |  |  | #DIV/0! |  | Sample 1 |  |  | #DIV/0!
Sample 2 |  |  | #DIV/0! |  | Sample 2 |  |  | #DIV/0!
Enter the Sample Spike readings in the yellow cells in Tabel 5.
Table 5: |  |  |  |  | Table 8:
| Sample corrected |  |  |  |  | Reading OD (570) nm
Sample 1 | #DIV/0! |  |  |  |  | Duplicate 1 | Duplicate 2 | Average
Sample 2 | #DIV/0! |  |  |  | Sample Spike 1 |  |  | #DIV/0!
[5 empty] | Sample Spike 2 |  |  | #DIV/0!
Correction of samples and samples spikes readings .
Sample 1- Glycogen concentration calculation : |  |  |  |  | Table 9:
Standard curve slope |  |  |  | #DIV/0! |  | Sample corrected
Standard curve intercept |  |  |  | #DIV/0! | Sample 1 | #DIV/0!
Sa - Quantity of glycogen in the unknown sample from standard curve (µg) |  |  |  | #DIV/0! | Sample 2 | #DIV/0!
Sv - Sample volume added into the wells. (µl) |  |  |  |  | Sample Spike 1 | #DIV/0!
Insert dilution factor (DF) here → |  |  |  |  | Sample Spike 2 | #DIV/0!
C- Concentration of glycogen in sample (µg/µl) |  |  |  | #DIV/0!
Sample 2- Glycogen concentration calculation : |  |  |  |  | Sample Spike 1- Glycogen concentration calculation :
Standard curve slope |  |  |  | #DIV/0! | Loaded volume of 0.2mg/ml glycogen that was added to Sample Spike 1 (µl)
Standard curve intercept |  |  |  | #DIV/0! | Insert dilution factor (DF) here →
Sa - Quantity of glycogen in the unknown sample from standard curve (µg) |  |  |  | #DIV/0! | M- Amount of glycogen in sample well (µg) |  |  |  | #DIV/0!
Sv - Sample volume added into the wells. (µl) |  |  |  |  | Loaded volume sample on well (µl)
Insert dilution factor (DF) here → |  |  |  |  | C- Glycogen concentration of sample (µg/µl) |  |  |  | #DIV/0!
C- Concentration of glycogen in sample (µg/µl) |  |  |  | #DIV/0!
Sample Spike 2- Glycogen concentration calculation :
Loaded volume of 0.2mg/ml glycogen that was added to Sample Spike 2 (µl)
Insert dilution factor (DF) here →
[5 empty] | M- Amount of glycogen in sample well (µg) |  |  |  | #DIV/0!
Loaded volume sample on well (µl)
[5 empty] | C- Glycogen concentration of sample (µg/µl) |  |  |  | #DIV/0!

## 1.Procedure (F)
Glycogen Assay Fluorometric Kit MAK604
Instructions for Analyzing Test Results for Two Samples |  | For your convenience, use the following table to calculate the volume of reagents you will need to preper Reaction Mix for your experiment.
Below are steps to help analyze the results of the test conducted for two samples.
For a colorimetric experiment, refer to tabs 1 and 2;
For a fluorescent experiment, refer to tab 3 and 4.
Insert number of Standard wells
1. Input Readings: |  | Insert number of Samples wells (Background, Sample, Spike)
Start by entering the readings obtained from your test into Table 1.
Table 2 displays the results after subtracting the Blank. |  | Number of wells | 0
|  | Required volume of Development buffer (µl)- MAK604B | 0
2. Proceed Based on Experiment Requirements: |  | Required volume of Development Enzyme Mix (µl) - MAK604E | 0
If your experiment required a spike, proceed to step 6, Tables 6 to 9. |  | Probe (µl) - MAK604C | 0
If no spike was required, continue to the next step.
3. Enter Sample Background Readings:
Enter your Sample Background readings in Table 3.
Additionally, enter your Sample Background readings in Table 4.
4. Obtain Corrected Sample Readings:
Table 5 provides the corrected Sample readings after subtracting both the Blank and Sample Background.
5. Calculate Glycogen Concentration:
In the glycogen concentration calculation, enter the dilution factor (DF) you used for the sample and the sample volume (µL) in the yellow cells.
In the green cells, you will find the ATP concentration of your sample (µg/µL).
6. For Spiked Samples:
If you did spike samples, enter the Sample Background readings in Table 6.
Enter the Sample readings in Table 7 and again in Table 8.
In Table 9, you will obtain the corrected readings after subtracting the Blank reading and the Sample Background reading.
7. Sample Spike - Glycogen Concentration Calculation:
In the yellow cells, enter the volume (µL) of glycogen (0.02mg/ml) that you added to the Spike sample.
Enter the dilution factor used for the sample and the sample volume.
In the green cells, you will get the amount of glycogen in the well (µg) and the glycogen concentration in the sample (µg/µL).

## 2.Calculator (F)
Glycogen Assay Fluorometric Kit MAK604
For your convenience, a calculation sheet is available below. Only the yellow cells need to be filled by you. Green cells indicate the final results of glycogen concentration
Copy the raw data obtained from the plate reader to the tables below :
Select Orientation → Portrait and Scaling → Fit All Columnson One Page for a printer friendly document.
Standard Curve Calculator:
Enter the standard readings in the yellow cells in Tabel 1.
Table 1: |  |  |  |  | Table 2:
| Reading OD (570) nm |  |  |  |  | Reading λex = 535/ λem = 587 nm
µg of glycogen per well | Duplicate 1 | Duplicate 2 |  |  | µg of glycogen per well | Average | Blank Assay Sub.
0 |  |  |  |  | 0 | #DIV/0! | #DIV/0!
0.04 |  |  |  |  | 0.04 | #DIV/0! | #DIV/0!
0.08 |  |  |  |  | 0.08 | #DIV/0! | #DIV/0!
0.12 |  |  |  |  | 0.12 | #DIV/0! | #DIV/0!
0.16 |  |  |  |  | 0.16 | #DIV/0! | #DIV/0!
0.2 |  |  |  |  | 0.2 | #DIV/0! | #DIV/0!
Calculator for systems that do not require a spike |  |  |  |  | Calculator for systems requiring spike
Sample Calculator: |  |  |  |  | Sample Spike Calculator:
Enter the Sample Background readings in the yellow cells in Tabel 3. |  |  |  |  | Enter the Sample Background readings in the yellow cells in Tabel 3.
Table 3: |  |  |  |  | Table 6:
| Reading λex = 535/ λem = 587 nm |  |  |  |  | Reading λex = 535/ λem = 587 nm
| Duplicate 1 | Duplicate 2 | Average |  |  | Duplicate 1 | Duplicate 2 | Average
Sample Background 1 |  |  | #DIV/0! |  | Sample Background 1 |  |  | #DIV/0!
Sample Background 2 |  |  | #DIV/0! |  | Sample Background 2 |  |  | #DIV/0!
Enter the Sample readings in the yellow cells in Tabel 4. |  |  |  |  | Enter the Sample readings in the yellow cells in Tabel 4.
Table 4: |  |  |  |  | Table 7:
| Reading λex = 535/ λem = 587 nm |  |  |  |  | Reading λex = 535/ λem = 587 nm
| Duplicate 1 | Duplicate 2 | Average |  |  | Duplicate 1 | Duplicate 2 | Average
Sample 1 |  |  | #DIV/0! |  | Sample 1 |  |  | #DIV/0!
Sample 2 |  |  | #DIV/0! |  | Sample 2 |  |  | #DIV/0!
Enter the Sample Spike readings in the yellow cells in Tabel 5.
Table 5: |  |  |  |  | Table 8:
| Sample corrected |  |  |  |  | Reading λex = 535/ λem = 587 nm
Sample 1 | #DIV/0! |  |  |  |  | Duplicate 1 | Duplicate 2 | Average
Sample 2 | #DIV/0! |  |  |  | Sample Spike 1 | 1260972 | 1272560 | 1266766
[5 empty] | Sample Spike 2 | 1105343 | 1093015 | 1099179
Correction of samples and samples spikes readings .
Sample 1- Glycogen concentration calculation : |  |  |  |  | Table 9:
Standard curve slope |  |  |  | #DIV/0! |  | Sample corrected
Standard curve intercept |  |  |  | #DIV/0! | Sample 1 | #DIV/0!
Sa - Quantity of glycogen in the unknown sample from standard curve (µg) |  |  |  | #DIV/0! | Sample 2 | #DIV/0!
Sv - Sample volume added into the wells. (µl) |  |  |  |  | Sample Spike 1 | #DIV/0!
Insert dilution factor (DF) here → |  |  |  |  | Sample Spike 2 | #DIV/0!
C- Concentration of glycogen in sample (µg/µl) |  |  |  | #DIV/0!
Sample Spike 1- Glycogen concentration calculation :
Loaded volume of 0.02mg/ml glycogen that was added to Sample Spike 1 (µl)
Sample 2- Glycogen concentration calculation : |  |  |  |  | Insert dilution factor (DF) here →
Standard curve slope |  |  |  | #DIV/0! | M- Amount of glycogen in sample well (µg) |  |  |  | #DIV/0!
Standard curve intercept |  |  |  | #DIV/0! | Loaded volume sample on well (µl)
Sa - Quantity of glycogen in the unknown sample from standard curve (µg) |  |  |  | #DIV/0! | C- Glycogen concentration of sample (µg/µl) |  |  |  | #DIV/0!
Sv - Sample volume added into the wells. (µl)
Insert dilution factor (DF) here → |  |  |  |  | Sample Spike 2- Glycogen concentration calculation :
C- Concentration of glycogen in sample (µg/µl) |  |  |  | #DIV/0! | Loaded volume of 0.02mg/ml glycogen that was added to Sample Spike 2 (µl)
Insert dilution factor (DF) here →
[5 empty] | M- Amount of glycogen in sample well (µg) |  |  |  | #DIV/0!
Loaded volume sample on well (µl)
[5 empty] | C- Glycogen concentration of sample (µg/µl) |  |  |  | #DIV/0!